## 22023-32-TRNS
DrainI | DrainV | GateV
6.4979e-11 | 5 | -10
6.4979e-11 | 5 | -9.5
6.3421e-11 | 5 | -9
6.5021e-11 | 5 | -8.5
6.7969e-11 | 5 | -8
8.0643e-11 | 5 | -7.5
1.0679e-10 | 5 | -7
2.3455e-10 | 5 | -6.5
7.7877e-10 | 5 | -6
3.0758e-09 | 5 | -5.5
1.2447e-08 | 5 | -5
5.4019e-08 | 5 | -4.5
2.3675e-07 | 5 | -4
7.2361e-07 | 5 | -3.5
3.367e-06 | 5 | -3
9.8662e-06 | 5 | -2.5
2.8647e-05 | 5 | -2
6.2646e-05 | 5 | -1.5
0.00012384 | 5 | -1
0.00021493 | 5 | -0.5
0.00033992 | 5 | 0
0.00049576 | 5 | 0.5
0.00069742 | 5 | 1
0.00093414 | 5 | 1.5
0.0010677 | 5 | 2
0.0011103 | 5 | 2.5
0.0012745 | 5 | 3
0.0012707 | 5 | 3
0.0011066 | 5 | 2.5
0.0010644 | 5 | 2
0.00090117 | 5 | 1.5
0.00065966 | 5 | 1
0.0004563 | 5 | 0.5
0.00029484 | 5 | 0
0.00017453 | 5 | -0.5
9.2533e-05 | 5 | -1
4.2202e-05 | 5 | -1.5
1.5788e-05 | 5 | -2
4.2616e-06 | 5 | -2.5
8.733e-07 | 5 | -3
1.3312e-07 | 5 | -3.5
1.2567e-08 | 5 | -4
9.8335e-10 | 5 | -4.5
1.4932e-10 | 5 | -5
8.4433e-11 | 5 | -5.5
7.0074e-11 | 5 | -6
6.9401e-11 | 5 | -6.5
6.7885e-11 | 5 | -7
6.5653e-11 | 5 | -7.5
6.9737e-11 | 5 | -8
7.778e-11 | 5 | -8.5
7.1759e-11 | 5 | -9
7.1717e-11 | 5 | -9.5
7.0495e-11 | 5 | -10

## Settings
==================================
22023-32-TRNS
==================================
Test Name | vgs-id#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0.1
Hold Time | 2
Site Coordinate | 0,0
Last Executed | 04/24/2023 18:55:52
Clarius+ Version | V1.11
Execution Time | 00:00:00:13
Interlock | High Voltage Disabled
Device Terminal | Drain | Source | Gate
Instrument | SMU2 | GNDU | SMU1
Name | DrainV | N/A | GateV
Operation Mode | Voltage Bias | Common | Voltage Linear Sweep
Master/Subordinate | N/A | N/A | Master
Start/Bias | 5 | 0 | -10
Stop | N/A | N/A | 3
Step | N/A | N/A | 0.5
Number of Points | 0 | N/A | 54
Compliance | 0.01 | N/A | 1.1e-07
Measure Current | Measured | N/A | No
Measure Voltage | Programmed | N/A | Programmed
Current Range | Limited Auto=1uA | N/A | Auto
Voltage Range | Auto | N/A | Best Fixed
AC Measure I Range | N/A | N/A | N/A
Dual Sweep | N/A | N/A | Enabled
Pulse Mode | Disabled | N/A | Disabled
Pulse On Time | N/A | N/A | N/A
Pulse Off Time | N/A | N/A | N/A
Pulse Base Voltage | N/A | N/A | N/A
Presoak | N/A | N/A | N/A
Frequency Mode | N/A | N/A | N/A
Frequency | N/A | N/A | N/A
Start Frequency | N/A | N/A | N/A
Stop Frequency | N/A | N/A | N/A
Frequency Points | N/A | N/A | N/A
AC Drive Signal | OFF | N/A | OFF
Overvoltage Protection
Compensation | NA
CVU Path | NA
==================================
22023-31-TRNS
==================================
Test Name | vgs-id#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0.1
Hold Time | 2
Site Coordinate | 0,0
Last Executed | 04/24/2023 18:47:20
Clarius+ Version | V1.11
Execution Time | 00:00:00:11
Interlock | High Voltage Disabled
Device Terminal | Drain | Source | Gate
Instrument | SMU2 | GNDU | SMU1
Name | DrainV | N/A | GateV
Operation Mode | Voltage Bias | Common | Voltage Linear Sweep
Master/Subordinate | N/A | N/A | Master
Start/Bias | 5 | 0 | -10
Stop | N/A | N/A | 3
Step | N/A | N/A | 0.5
Number of Points | 0 | N/A | 54
Compliance | 0.01 | N/A | 1.1e-07
Measure Current | Measured | N/A | No
Measure Voltage | Programmed | N/A | Programmed
Current Range | Limited Auto=1uA | N/A | Auto
Voltage Range | Auto | N/A | Best Fixed
AC Measure I Range | N/A | N/A | N/A
Dual Sweep | N/A | N/A | Enabled
Pulse Mode | Disabled | N/A | Disabled
Pulse On Time | N/A | N/A | N/A
Pulse Off Time | N/A | N/A | N/A
Pulse Base Voltage | N/A | N/A | N/A
Presoak | N/A | N/A | N/A
Frequency Mode | N/A | N/A | N/A
Frequency | N/A | N/A | N/A
Start Frequency | N/A | N/A | N/A
Stop Frequency | N/A | N/A | N/A
Frequency Points | N/A | N/A | N/A
AC Drive Signal | OFF | N/A | OFF
Overvoltage Protection
Compensation | NA
CVU Path | NA
==================================
22023-22-TRNS
==================================
Test Name | vgs-id#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0.1
Hold Time | 2
Site Coordinate | 0,0
Last Executed | 04/24/2023 18:33:08
Clarius+ Version | V1.11
Execution Time | 00:00:00:13
Interlock | High Voltage Disabled
Device Terminal | Drain | Source | Gate
Instrument | SMU2 | GNDU | SMU1
Name | DrainV | N/A | GateV
Operation Mode | Voltage Bias | Common | Voltage Linear Sweep
Master/Subordinate | N/A | N/A | Master
Start/Bias | 5 | 0 | -10
Stop | N/A | N/A | 3
Step | N/A | N/A | 0.5
Number of Points | 0 | N/A | 54
Compliance | 0.01 | N/A | 1.1e-07
Measure Current | Measured | N/A | No
Measure Voltage | Programmed | N/A | Programmed
Current Range | Limited Auto=1uA | N/A | Auto
Voltage Range | Auto | N/A | Best Fixed
AC Measure I Range | N/A | N/A | N/A
Dual Sweep | N/A | N/A | Enabled
Pulse Mode | Disabled | N/A | Disabled
Pulse On Time | N/A | N/A | N/A
Pulse Off Time | N/A | N/A | N/A
Pulse Base Voltage | N/A | N/A | N/A
Presoak | N/A | N/A | N/A
Frequency Mode | N/A | N/A | N/A
Frequency | N/A | N/A | N/A
Start Frequency | N/A | N/A | N/A
Stop Frequency | N/A | N/A | N/A
Frequency Points | N/A | N/A | N/A
AC Drive Signal | OFF | N/A | OFF
Overvoltage Protection
Compensation | NA
CVU Path | NA
==================================
22023-21-TRNS
==================================
Test Name | vgs-id#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0.1
Hold Time | 2
Site Coordinate | 0,0
Last Executed | 04/24/2023 18:24:47
Clarius+ Version | V1.11
Execution Time | 00:00:00:13
Interlock | High Voltage Disabled
Device Terminal | Drain | Source | Gate
Instrument | SMU2 | GNDU | SMU1
Name | DrainV | N/A | GateV
Operation Mode | Voltage Bias | Common | Voltage Linear Sweep
Master/Subordinate | N/A | N/A | Master
Start/Bias | 5 | 0 | -10
Stop | N/A | N/A | 3
Step | N/A | N/A | 0.5
Number of Points | 0 | N/A | 54
Compliance | 0.01 | N/A | 1.1e-07
Measure Current | Measured | N/A | No
Measure Voltage | Programmed | N/A | Programmed
Current Range | Limited Auto=1uA | N/A | Auto
Voltage Range | Auto | N/A | Best Fixed
AC Measure I Range | N/A | N/A | N/A
Dual Sweep | N/A | N/A | Enabled
Pulse Mode | Disabled | N/A | Disabled
Pulse On Time | N/A | N/A | N/A
Pulse Off Time | N/A | N/A | N/A
Pulse Base Voltage | N/A | N/A | N/A
Presoak | N/A | N/A | N/A
Frequency Mode | N/A | N/A | N/A
Frequency | N/A | N/A | N/A
Start Frequency | N/A | N/A | N/A
Stop Frequency | N/A | N/A | N/A
Frequency Points | N/A | N/A | N/A
AC Drive Signal | OFF | N/A | OFF
Overvoltage Protection
Compensation | NA
CVU Path | NA
==================================
22023-12-TRNS
==================================
Test Name | vgs-id#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0.1
Hold Time | 2
Site Coordinate | 0,0
Last Executed | 04/24/2023 14:43:32
Clarius+ Version | V1.11
Execution Time | 00:00:00:11
Interlock | High Voltage Disabled
Device Terminal | Drain | Source | Gate
Instrument | SMU2 | GNDU | SMU1
Name | DrainV | N/A | GateV
Operation Mode | Voltage Bias | Common | Voltage Linear Sweep
Master/Subordinate | N/A | N/A | Master
Start/Bias | 5 | 0 | -10
Stop | N/A | N/A | 3
Step | N/A | N/A | 0.5
Number of Points | 0 | N/A | 54
Compliance | 0.01 | N/A | 1.1e-07
Measure Current | Measured | N/A | Measured
Measure Voltage | Programmed | N/A | Programmed
Current Range | Limited Auto=1uA | N/A | Limited Auto=1uA
Voltage Range | Auto | N/A | Best Fixed
AC Measure I Range | N/A | N/A | N/A
Dual Sweep | N/A | N/A | Enabled
Pulse Mode | Disabled | N/A | Disabled
Pulse On Time | N/A | N/A | N/A
Pulse Off Time | N/A | N/A | N/A
Pulse Base Voltage | N/A | N/A | N/A
Presoak | N/A | N/A | N/A
Frequency Mode | N/A | N/A | N/A
Frequency | N/A | N/A | N/A
Start Frequency | N/A | N/A | N/A
Stop Frequency | N/A | N/A | N/A
Frequency Points | N/A | N/A | N/A
AC Drive Signal | OFF | N/A | OFF
Overvoltage Protection
Compensation | NA
CVU Path | NA

## 22023-31-TRNS
DrainI | DrainV | GateV
1.4534e-09 | 5 | -10
1.5326e-09 | 5 | -9.5
1.7468e-09 | 5 | -9
1.9061e-09 | 5 | -8.5
2.0452e-09 | 5 | -8
2.141e-09 | 5 | -7.5
2.5966e-09 | 5 | -7
4.2453e-09 | 5 | -6.5
1.5823e-08 | 5 | -6
6.9846e-08 | 5 | -5.5
2.6492e-07 | 5 | -5
7.5018e-07 | 5 | -4.5
2.2673e-06 | 5 | -4
5.4374e-06 | 5 | -3.5
1.3971e-05 | 5 | -3
3.2588e-05 | 5 | -2.5
6.6759e-05 | 5 | -2
0.00013368 | 5 | -1.5
0.00023769 | 5 | -1
0.00038148 | 5 | -0.5
0.00055599 | 5 | 0
0.00078395 | 5 | 0.5
0.0010404 | 5 | 1
0.0010841 | 5 | 1.5
0.0011814 | 5 | 2
0.0014001 | 5 | 2.5
0.0016411 | 5 | 3
0.0016324 | 5 | 3
0.0013752 | 5 | 2.5
0.0011516 | 5 | 2
0.0010762 | 5 | 1.5
0.00097075 | 5 | 1
0.00069755 | 5 | 0.5
0.00047005 | 5 | 0
0.00029189 | 5 | -0.5
0.00016338 | 5 | -1
8.1285e-05 | 5 | -1.5
3.6605e-05 | 5 | -2
1.4819e-05 | 5 | -2.5
5.6109e-06 | 5 | -3
2.101e-06 | 5 | -3.5
6.8473e-07 | 5 | -4
2.2087e-07 | 5 | -4.5
6.4242e-08 | 5 | -5
1.8954e-08 | 5 | -5.5
5.4854e-09 | 5 | -6
2.8678e-09 | 5 | -6.5
2.4337e-09 | 5 | -7
1.8631e-09 | 5 | -7.5
1.8895e-09 | 5 | -8
1.6815e-09 | 5 | -8.5
1.7584e-09 | 5 | -9
1.6106e-09 | 5 | -9.5
1.5273e-09 | 5 | -10

## 22023-22-TRNS
DrainI | DrainV | GateV
6.7674e-11 | 5 | -10
6.1105e-11 | 5 | -9.5
6.1274e-11 | 5 | -9
5.9631e-11 | 5 | -8.5
5.9842e-11 | 5 | -8
7.4201e-11 | 5 | -7.5
1.062e-10 | 5 | -7
3.3813e-10 | 5 | -6.5
1.7651e-09 | 5 | -6
1.2561e-08 | 5 | -5.5
6.2791e-08 | 5 | -5
2.6884e-07 | 5 | -4.5
7.8345e-07 | 5 | -4
3.0604e-06 | 5 | -3.5
8.4579e-06 | 5 | -3
2.3295e-05 | 5 | -2.5
5.0016e-05 | 5 | -2
0.00010294 | 5 | -1.5
0.00018457 | 5 | -1
0.00030444 | 5 | -0.5
0.00046587 | 5 | 0
0.00066425 | 5 | 0.5
0.0009122 | 5 | 1
0.0010658 | 5 | 1.5
0.0011082 | 5 | 2
0.0012836 | 5 | 2.5
0.0015353 | 5 | 3
0.0015288 | 5 | 3
0.0012843 | 5 | 2.5
0.0011042 | 5 | 2
0.0010619 | 5 | 1.5
0.00086366 | 5 | 1
0.00060529 | 5 | 0.5
0.00039652 | 5 | 0
0.00023908 | 5 | -0.5
0.00013133 | 5 | -1
6.4946e-05 | 5 | -1.5
2.8773e-05 | 5 | -2
1.0575e-05 | 5 | -2.5
3.2866e-06 | 5 | -3
7.828e-07 | 5 | -3.5
1.7355e-07 | 5 | -4
2.4199e-08 | 5 | -4.5
2.5292e-09 | 5 | -5
1.7374e-10 | 5 | -5.5
6.0895e-11 | 5 | -6
6.5526e-11 | 5 | -6.5
6.5821e-11 | 5 | -7
6.3084e-11 | 5 | -7.5
6.599e-11 | 5 | -8
6.1358e-11 | 5 | -8.5
6.0095e-11 | 5 | -9
5.841e-11 | 5 | -9.5
6.1021e-11 | 5 | -10

## 22023-21-TRNS
DrainI | DrainV | GateV
7.1e-11 | 5 | -10
6.3547e-11 | 5 | -9.5
6.6663e-11 | 5 | -9
6.3084e-11 | 5 | -8.5
6.4937e-11 | 5 | -8
6.4769e-11 | 5 | -7.5
5.9168e-11 | 5 | -7
6.3547e-11 | 5 | -6.5
7.0664e-11 | 5 | -6
8.3759e-11 | 5 | -5.5
1.5084e-10 | 5 | -5
5.0282e-10 | 5 | -4.5
2.6364e-09 | 5 | -4
1.7802e-08 | 5 | -3.5
1.4166e-07 | 5 | -3
7.8899e-07 | 5 | -2.5
4.761e-06 | 5 | -2
1.94e-05 | 5 | -1.5
5.146e-05 | 5 | -1
0.00011304 | 5 | -0.5
0.00020781 | 5 | 0
0.00033989 | 5 | 0.5
0.00050686 | 5 | 1
0.00072021 | 5 | 1.5
0.00096822 | 5 | 2
0.0010736 | 5 | 2.5
0.0011321 | 5 | 3
0.0011298 | 5 | 3
0.0010719 | 5 | 2.5
0.00094787 | 5 | 2
0.00069421 | 5 | 1.5
0.00047926 | 5 | 1
0.00030664 | 5 | 0.5
0.00017737 | 5 | 0
8.8721e-05 | 5 | -0.5
3.6037e-05 | 5 | -1
1.0486e-05 | 5 | -1.5
1.926e-06 | 5 | -2
1.8008e-07 | 5 | -2.5
8.3092e-09 | 5 | -3
4.285e-10 | 5 | -3.5
7.5927e-11 | 5 | -4
6.5147e-11 | 5 | -4.5
6.519e-11 | 5 | -5
6.1147e-11 | 5 | -5.5
6.7884e-11 | 5 | -6
6.7548e-11 | 5 | -6.5
7.0621e-11 | 5 | -7
6.599e-11 | 5 | -7.5
6.5948e-11 | 5 | -8
7.1843e-11 | 5 | -8.5
6.6074e-11 | 5 | -9
6.7127e-11 | 5 | -9.5
6.8263e-11 | 5 | -10

## 22023-12-TRNS
DrainI | DrainV | GateI | GateV
5.5378e-11 | 5 | -5.4879e-11 | -10
5.1167e-11 | 5 | -5.349e-11 | -9.5
5.841e-11 | 5 | -4.6967e-11 | -9
7.441e-11 | 5 | -4.3852e-11 | -8.5
1.5892e-10 | 5 | -4.7261e-11 | -8
5.1087e-10 | 5 | -5.2859e-11 | -7.5
2.114e-09 | 5 | -4.5788e-11 | -7
7.9924e-09 | 5 | -4.6714e-11 | -6.5
2.7611e-08 | 5 | -4.8903e-11 | -6
8.6769e-08 | 5 | -4.4315e-11 | -5.5
2.2718e-07 | 5 | -4.1116e-11 | -5
4.5885e-07 | 5 | -3.9559e-11 | -4.5
9.8864e-07 | 5 | -3.8254e-11 | -4
1.732e-06 | 5 | -3.6697e-11 | -3.5
2.5991e-06 | 5 | -4.0569e-11 | -3
3.4851e-06 | 5 | -4.0233e-11 | -2.5
4.8401e-06 | 5 | -4.3389e-11 | -2
5.8613e-06 | 5 | -3.5982e-11 | -1.5
6.8622e-06 | 5 | -4.1748e-11 | -1
7.8509e-06 | 5 | -4.3684e-11 | -0.5
8.2001e-06 | 5 | -4.4441e-11 | 0
7.7828e-06 | 5 | -4.583e-11 | 0.5
8.0136e-06 | 5 | -4.2211e-11 | 1
8.9422e-06 | 5 | -3.6234e-11 | 1.5
8.9967e-06 | 5 | -3.9812e-11 | 2
9.3495e-06 | 5 | -4.1664e-11 | 2.5
8.8977e-06 | 5 | -4.3768e-11 | 3
8.7096e-06 | 5 | -4.4862e-11 | 3
8.1506e-06 | 5 | -4.1116e-11 | 2.5
8.2137e-06 | 5 | -4.0485e-11 | 2
7.454e-06 | 5 | -3.8844e-11 | 1.5
7.0385e-06 | 5 | -4.5957e-11 | 1
6.9249e-06 | 5 | -4.3558e-11 | 0.5
6.3651e-06 | 5 | -4.461e-11 | 0
5.7197e-06 | 5 | -4.8692e-11 | -0.5
4.9491e-06 | 5 | -4.7556e-11 | -1
4.0303e-06 | 5 | -4.6125e-11 | -1.5
3.2258e-06 | 5 | -4.4231e-11 | -2
2.2887e-06 | 5 | -4.2337e-11 | -2.5
1.5077e-06 | 5 | -4.6546e-11 | -3
8.5225e-07 | 5 | -4.1032e-11 | -3.5
4.2348e-07 | 5 | -4.5536e-11 | -4
1.5395e-07 | 5 | -4.3052e-11 | -4.5
4.4912e-08 | 5 | -4.4399e-11 | -5
9.4983e-09 | 5 | -4.3768e-11 | -5.5
1.354e-09 | 5 | -4.6462e-11 | -6
1.8776e-10 | 5 | -4.8187e-11 | -6.5
6.721e-11 | 5 | -4.743e-11 | -7
6.241e-11 | 5 | -4.7598e-11 | -7.5
5.5041e-11 | 5 | -5.1007e-11 | -8
5.7736e-11 | 5 | -4.4483e-11 | -8.5
5.8115e-11 | 5 | -4.6546e-11 | -9
5.8915e-11 | 5 | -5.3027e-11 | -9.5
5.4788e-11 | 5 | -4.5283e-11 | -10