RES:

Tables:

| technologies |  | Variable & parameters |  |
| --- | --- | --- | --- |
| GH | Gas heater | Y | Capacity |
| EH | Elec heater | XI | Inlet flow |
| OH | Oil heater | XO | outlet flow |
| CentH | Central heating | H | Historical capacity |
| Pack | Package | ca | Capacity factor |
|  |  | t | Year |
|  |  | l | Loadzone |
|  |  | El | electricity |
|  |  | NG | Natural gas |
|  |  | H | Heating/heat |
|  |  | ∆l | Load zone hour |
|  |  | r | Discount rate |
|  |  | PL | Plant life |
|  |  | b | Base year |

-Df=Discounting factor=1(1+r)t

Objective function:

Z=min (capital cost+ O&M cost+ fuel cost)

z=min⁡(techtcinv*Ytech,t*Df+tcma*(Ytech,t+ω*Htech)*Df+tlcfuel*XIfuel,tech,l,t*∆l*Df)

𝜂

Y

tech

XI

XO

Constraints:

Capacity and flow constraints for each technology

ϑ= t-PLtech-1  or 1 if ϑ<0

XII,tech,l,t*ηtech=XOH,tech,l,t                    I:NG      for        GH, pack,centH

I:El      for        EH

I:oil      for        OH

I:LPG      for        LPG

XOH,tech,l,t≤ϑtYtech,t*catech,l,t+ω*Htech*catech,l,t

ω=1 if PLtech-t-PLtech>0 or  ω=0 ifPLtech-t-PLtech<0

Ytech,tmin≤Ytech,t≤Ytech,tmax

Demand constraints:

Techs: GH,EH,OH,Pack,centH,LPG

Hdemandl,t≤techXOH,tech,l,t